NOTIFICATION

The following notification is being circulated in accordance with Article 10.6.

| 1. | Notifying Member: MEXICO If applicable, name of local government involved (Articles 3.2 and 7.2): |
| --- | --- |
| 2. | Agency responsible: Agencia Nacional de Seguridad Industrial y de Protección al Medio Ambiente del Sector Hidrocarburos (National Agency for Industrial Safety and Environmental Protection in the Hydrocarbon Sector) Name and address (including telephone and fax numbers, email and website addresses, if available) of agency or authority designated to handle comments regarding the notification shall be indicated if different from above: Comisión Reguladora de Energía (la Comisión) a través del Comité Consultivo Nacional de Normalización de Seguridad Industrial y Operativa y Protección al Medio Ambiente del Sector Hidrocarburos (Energy Regulatory Commission (the Commission) through the National Advisory Committee on Standardization for Industrial and Operational Safety and Environmental Protection in the Hydrocarbon Sector) Contact person: Carlos Salvador de Regules Ruiz-Funes |
| 3. | Notified under Article 2.9.2 [ ], 2.10.1 [X], 5.6.2 [ ], 5.7.1 [ ], other: |
| 4. | Products covered (HS or CCCN where applicable, otherwise national tariff heading. ICS numbers may be provided in addition, where applicable): Vapour recovery systems |
| 5. | Title, number of pages and language(s) of the notified document: NOM-EM-002-ASEA-2016, Que establece los métodos de prueba y parámetros para la operación, mantenimiento y eficiencia de los sistemas de recuperación de vapores de gasolinas en estaciones de servicio para expendio al público de gasolinas, para el control de emisiones (Emergency Mexican Official Standard NOM-EM-002-ASEA-2016 establishing test methods and parameters for the operation, maintenance and efficiency of gasoline vapour recovery systems in service stations selling gasoline to the public, for emission control purposes) (23 pages, in Spanish) |
| 6. | Description of content: The notified Emergency Mexican Official Standard applies to vapour recovery systems in service stations selling gasoline to the public that are located in the delegations and municipalities covered by the Atmospheric Environmental Contingency Programme applicable to the Metropolitan Area of the Valley of Mexico. Delegations: Álvaro Obregón, Azcapotzalco, Benito Juárez, Coyoacán, Cuajimalpa, Cuauhtémoc, Gustavo A. Madero, Iztacalco, Iztapalapa, Magdalena Contreras, Miguel Hidalgo, Milpa Alta, Tláhuac, Tlalpan, Venustiano Carranza and Xochimilco. Municipalities: Atizapán de Zaragoza, Coacalco, Cuautitlán, Cuautitlán Izcalli, Chalco, Chicoloapan, Chimalhuacán, Ecatepec, Huixquilucan, Ixtapaluca, Naucalpan, Nezahualcóyotl, Nicolás Romero, La Paz, Tecámac, Tlalnepantla de Baz, Tultitlán and Valle de Chalco. |
| 7. | Objective and rationale, including the nature of urgent problems where applicable: The notified text establishes test methods and parameters for the operation, maintenance and efficiency of gasoline vapour recovery systems in service stations selling gasoline to the public, for emission control purposes. In view of the high number of environmental contingencies recorded in the period leading up to July 2016, the Federal Government announced the introduction of more than 150 measures to prevent and control air pollution, including an Emergency Mexican Official Standard to control volatile organic compounds (VOCs) in service stations selling gasoline to the public. In the Metropolitan Area of the Valley of Mexico, there are currently 1,000 registered service stations selling gasoline to the public that are equipped with vapour recovery systems to prevent fugitive emissions of VOCs and the formation of ground-level ozone. These systems may, however, be obsolete and not function correctly, and it is therefore necessary to introduce a standard that regulates the test methods and parameters for their operation, maintenance and efficacy. Other factors include the high risk to human health and the conservation of ecosystems. |
| 8. | Relevant documents: - 3.1. CARB CP-201, Certification Procedure for Vapor Recovery Systems at Gasoline Dispensing Facilities, California Air Resources Board, 23 April 2015. - 3.2. CARB TP-201.1E, Leak Rate and Cracking Pressure of Pressure/Vacuum Vent Valves, California Air Resources Board, 8 October 2003. - 3.3. CARB TP-201.2, Efficiency and Emission Factor for Phase II Systems, California Air Resources Board, 2 May 2008. - 3.4. CARB TP-201.2, Figures, California Air Resources Board, 8 October 2003. - 3.5. CARB TP-201.2E, Gasoline Liquid Retention in Nozzles and Hoses, California Air Resources Board, 1 February 2001. - 3.6. CARB TP-201.2F, Pressure-Related Fugitive Emissions, California Air Resources Board, 8 October 2003. - 3.7. CARB TP-201.2H, Determination of Hazardous Air Pollutants from Vapor Recovery Processors, California Air Resources Board, 1 February 2001. - 3.8. CARB TP-201.3, Determination of 2 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities, California Air Resources Board, 17 March 1999. - 3.9. CARB TP-201.3A, Determination of 5 Inch WC Static Pressure Performance of Vapor Recovery Systems of Dispensing Facilities, California Air Resources Board, 12 April 1996. - 3.10. CARB TP-201.3C, Determination of Piping Connections to Underground Gasoline Storage Tanks (Tie-Tank Test), California Air Resources Board, 17 March 1999. - 3.11. CARB TP-201.4, Dynamic Back Pressure, California Air Resources Board, 3 July 2002. - 3.12. CARB TP-201.5, Air to Liquid Volume, California Air Resources Board, 1 February 2001. - 3.13. CARB TP-204.3, Determination of Leaks, California Air Resources Board, 17 March 1999. - 3.14. CARB TP-201.2B, Flow and Pressure Measurement of Vapor Recovery Equipment, California Air Resources Board, 8 October 2003. - 3.15. NMX-AA-009-1993-SCFI, Contaminación atmosférica - Fuentes fijas - Determinación de flujo de gases en un conducto por medio de tubo pitot (Mexican Standard NMX-AA-009-1993-SCFI, Air pollution - Stationary sources - Determination of the gas flow in a pipe, using a pitot tube). - 3.16. US EPA Method 2, Determination of Stack Gas Velocity and Volumetric Flow Rate (Type S Pitot Tube), US Environmental Protection Agency, February 2000. - 3.17. US EPA Method 2A, Direct Measurement of Gas Volume through Pipes and Small Ducts, US Environmental Protection Agency, February 2000. - 3.18. US EPA Method 2B, Determination of Exhaust Gas Volume Flow Rate From Gasoline Vapor Incinerators, US Environmental Protection Agency, February 2000. - 3.19. US EPA Method 3A, Determination of Oxygen and Carbon Dioxide Concentrations in Emissions from Stationary Sources (Instrumental Analyzer Procedure), US Environmental Protection Agency, 11 June 2008. - 3.20. US EPA Method 6C, Determination of Sulfur Dioxide Emissions from Stationary Sources (Instrumental Analyzer Procedure), US Environmental Protection Agency, 11 June 2008. - 3.21. US EPA Method 7E, Determination of Nitrogen Oxides Emissions from Stationary Sources (Instrumental Analyzer Procedure), US Environmental Protection Agency, 6 February 2009. - 3.22. US EPA Method 10, Determination of Carbon Monoxide Emissions from Stationary Sources, US Environmental Protection Agency, 14 August 2006. - 3.23. US EPA Method 21, Determination of Volatile Organic Compound Leaks, US Environmental Protection Agency, February 2000. - 3.24. US EPA Method 25A, Determination of Total Gaseous Organic Concentration Using a Flame Ionization Analyzer, US Environmental Protection Agency, February 2000. - 3.25. US EPA Method 25B, Determination of Total Gaseous Organic Concentration Using a Nondispersive Infrared Analyzer, US Environmental Protection Agency, February 2000. |
| 9. | Proposed date of adoption: This Emergency Mexican Official Standard will enter into force the day after its publication in the Diario Oficial de la Federación (Official Journal) and will remain in force for a period of six months, in accordance with Article 48, paragraph 1, of the Federal Law on Metrology and Standardization. Proposed date of entry into force: This Emergency Mexican Official Standard will enter into force the day after its publication in the Diario Oficial de la Federación (Official Journal) and will remain in force for a period of six months, in accordance with Article 48, paragraph 1, of the Federal Law on Metrology and Standardization. |
| 10. | Final date for comments: - |
| 11. | Texts available from: National enquiry point [X] or address, telephone and fax numbers and email and website addresses, if available, of other body: Secretaría de Economía Subsecretaría de Competitividad y Normatividad Dirección General de Normas Tel.: (+52) 55 5729 9100, Ext. 43244 Fax: (+52) 55 5520 9715 Email: normasomc@economia.gob.mx and/or sofia.pacheco@economia.gob.mx Website: http://www.economia.gob.mx/comunidad-negocios/normalizacion/catalogo-mexicano-de-normas Available online at: https://members.wto.org/crnattachments/2016/TBT/MEX/16_4735_00_s.pdf |